These are the settings to check and change in the TwinFlo 100e Softener

Find the manual, page 13

Set time of day to 12:01 pm

Enter master programming with time at 12:01 pm

Section

1. DF = GAL

2. VT= 8500

3. CT = Fd

4. NT = ---2

5. not important 1 or 2

6. C. = 10.0 this is important to change

7. H. = 20 SA water hardness is 20

8. RS =SF

9. SF= 5

10,11,12 not important for our settings

13. leave all to factory except BF.= 4:00

14.15 not important

16. FM = t07

Press extra cycle to get back to the time of day, you are done.